Northern Illinois University

*NIU Construction Standards*

*Division 08 9000 – Louvers and Vents*

March 2014, Rev 00





All exterior louvers to have insect screens.

These should be provided and installed by the mechanical contractor.

Louvers and Vents Div 08 9000 Page **1** of **1**